## General
Name | Description | Example | Category
DATE_TYPE | Changes DOB format to 4 digits (Default= 2) | DOB=4 | Lab Conversions
TESTCONV | Converts test name. i.e. long to short | QUANT=N | Lab Conversions
FILTERDL | Converts/translates filter type | P=2 | Lab Conversions
ECONV | Converts old error code to new error code | XYZ=z | Lab Conversions
ERR? | ID’s unknown errors. Used with }ECONV | “letters” or “COPY” | Lab Conversions
ERRCONV | Same as ECONV (inst. Error to soft error) | AB=A | Lab Conversions
ERRLEN | Tells interface to truncate string of error codes to specific lengths | 3 (Default= 2) | Lab Conversions
AUCOL | (PCC-61001) IF a specimen is placed on the sorter AND it does not have a collection date/time, THEN make the collection date/time = the current system date/time |  | Lab Conversions
RAR_CMN | (PCC-35906) Allows the user to add common RARs | Y | Lab Conversions
IN_PREF | (PCC-50492) To designate which comments should be stored as internal notes while leaving the rest to post as external comments | internal comment prefix (IN) | Lab Conversions
SharedSeq | Set to not use shared memory based algorithm of search of free result sequence numbers, and thus fail ("ERROR: SHM Can't be opened ...") will not occur for this interface. | N | Lab Conversions
PRIORTR | “SoftSysPriority” to “PriorityToDownload” | U=S | Lab Conversions
GENERAL | Translates various values for RefLab | See Notes | Lab Conversions
XLTE | Links aliquot ext. with a collection ext. (FLAG 19 must be set to activate) | AQ=CL | Lab Conversions
SEXMAP | Assigns unknown or unmatched sex. | N=M or N=F | Lab Conversions
INSTR_DEP | Tags in description used to display previously hardcoded elements | See Notes | Lab Conversions
DECIMAL_PT | (PCC-51412) To define the instrument used decimal point |  | Lab Conversions
VALID_EXT | (PCC-46860) validation of extension brought on by RTH. Clients that do not use the actual extension need to have the invalid extension defined. | EXT | Lab Conversions
MATCH_FB | (PCC-58139) For 4.0 clients using Foreign barcodes, sets download to contain only tests linked to a specific FB when multiple are present. |  | Lab Conversions
MATCH_BARC | (PCC-51048) restrict posting of results to only those tests assigned to the specific received barcode | Y | Lab Conversions
PROC_ORD | When an interface in 4.5 is setup to use order number rather than barcode then this entry should be used |  | Lab Conversions
NO_QC_AUX | (PCC-34481) The Rnumaux field used to keep tray tube id, this iParam stops the system from filling in the rnumaux field. |  | Lab Conversions
IM_NPView | (PCC-44009) If result did not post for any reason (not on order) to show up on the Not Posted View after the eligible tests have been posted. |  | Lab Conversions
ResLen | (PCC-52506) d_bfa, when instrument sends a result that is greater than 5 digits this parameter is required so the interface can accept them |  | Lab Conversions
FLG48_ERR | (PCC-30870) When flags 48 and 46 are set and the client does not want defined errors to stop results, this iParam is used to establish the desired behavior. LEAVE THE VALUE EMPTY! |  | Lab Conversions
SPBLK | (PCC-38280) Allows interfaces to hold orders until all results on a specimen have been received | Specimen Types | Lab Conversions
SPBLK_WRK | Goes with SPBLK to allow entries when a Datamanager is set to use this function for specific Instrument IDs | Workstations | Lab Conversions
SPatType | (PCC-41069) Used to download patient type to the MOLIS WAM | (empty) | Lab Conversions
RES_TRAN | Converts result character from Instrument to a phrase | +=POSITIVE'; '-=NEGATIVE' | Lab Conversions
TRKTECHID | Assign tech ID to be used for any autotracking message from instrument. Requires flag 54 (Instrument ID used by Default) | <TECH ID> ; Flag 54: Y | Lab Conversions
TRKTERMID | Assign terminal ID to be used for any autotracking message from instrument. Requires flag 54 (Instrument ID used by Default) | <TERM ID>; Flag 54: Y | Lab Conversions
MERGE_FREE | Merge free texts if we can receive more than one of the same test ID | Y | Multiple Categories
MERGE_TAGS | Merge tags from header to result | BBRES | Multiple Categories
IName | Index Name |  | Multiple Categories
ASTMSZ | (PCC-58771 interfaces that batch process orders such as DSX or Vitros); Increases the default maximum batch message size of 12,000 bytes | # greater than default of 12000 | Multiple Categories
ACT_TOUT | Activate timeout for sending program. Required when sending billing data. | Y | Multiple Categories
TQCUSER | Used in Autoposting to connect to connect to TQC WebService | SCC | Multiple Categories
TQCPASSWD | TQC WebService password for Autoposting | (Client defined pass) | Multiple Categories
ORD_VALID_EXP | Defines a regular expression, keep us from flagging unknown orders as QC | (REGEX) | Multiple Categories
fix_order | Used to adjust the ord. # any time we get an order # from the Instrument that is not the size of a standard Soft order # | Y | Multiple Categories
EMPTY_ORD | If interface can’t find order number corresponding to the units/ISBT number, use this to reject rest of results file. | (empty) | Multiple Categories
SHORTORD | Allows upload of short order number (8 must be added to adjust back to the correct order number when client is using Alphanumeric) | (Numeric Value); 8 | Multiple Categories
SYNC | Set synch pattern |  | Multiple Categories
SETUP | Read setup |  | Multiple Categories
PURGE_QUE | PURGE Q |  | Multiple Categories
QUEUE_MIN |  |  | Multiple Categories
QUEUE_MAX |  |  | Multiple Categories
RES_DATE | VIDAS ONLY supports formatting resulting date and time received from Vidas |  | Multiple Categories
TrLevel | Adds increased detail in the trace | 9 | Multiple Categories
LMCTR | (PCC-59309) defines level at which SA INST attaches to SCCTRACE | 1 to 12 | Multiple Categories
DAILY_DIR | Determines where the interface reads the orders queue |  | Multiple Categories
UPDRESCOM | Process NTEs attached to OBX for SoftBank | Y Hemocare | Multiple Categories
ORDSEARCH | Sets order identifier type on barcode (default= reads all) | ACDEFOH (notes) | Multiple Categories
UNITSEARCH | Downloads Eye-readable Barcodes for Bloodbank | E, B, O (notes) | Multiple Categories
InstrID | Maps inst. codes send from the inst. to Setup ID which will store results | DevID=SetID | Multiple Categories
ResetCom | (Technicon h1) Reset timeout counter (default 5) | N | Multiple Categories
ResetCnt | (Technicon h1) Reset timeout counter (default 5) | 5 | Multiple Categories
MQ_MODE | Interface reads from the old queue instead of creating a new one. (Doesn’t rebuild on startup) | NO_INIT | Multiple Categories
RRSOURCE | Read from file | FILE | Multiple Categories
ORD_FILTER | Allows removal of any character from order number | - | Multiple Categories
TEXT_ERR | Set error |  | Multiple Categories
TrnErrLib | Instructs interface to use old error code library | 1 | Multiple Categories
ErrStr | Used to change Bit value for extended flags used when result record size is other than std 41 char of BFA mode | CrND><Hlqi; (must be 10 chars long) | Multiple Categories
DOB | Define DOB format in the BNII | ddmmyyyy | Multiple Categories
AppDelim | Redefine delimiter - allowing special characters for Test column translation table entries. | ^ | Multiple Categories
DEF_EXT | Set default ext |  | Multiple Categories
PTYTRM | (PCC-59310) Call ioctl with parameters not applicable for pseudo terminal. Provides backward compatibility. | Y or N | Multiple Categories
BFLen | Set data length for high order bits (default= 16) | (number) | Multiple Categories
CHECK_MRN | (Check MRN) Used with POS program shall read MRN from the field pointed by value of the iParam. | (Field) | Multiple Categories
|  | PID(3,1) | Multiple Categories
CHANNEL | (QC Server) Specifies communication channel to server: | See Values | Multiple Categories
TEST_XLT | (QC server) Translate test codes: | See Values | Multiple Categories
INST_XLT | (QC server) Translate Instrument Code: | See Values | Multiple Categories
AppQC | Adjust QC append setting | Noapp/app/last | Multiple Categories
AppQCTime | Defines limit for when QC will append (5 recommended) | 5 | Multiple Categories
App | Adjust Patient Test append setting | Noapp/app/last | Multiple Categories
TQCCheckHours | (PCC-42969) Interface specific control of QC timeout |  | Multiple Categories
QC_TRANS | Convert what Instrument sends for QC to another value | 06=FPHY1 | Multiple Categories
QC_AddCh | Prepends ord# sent from inst. Allows translation to contain chars not in incoming ord# | QC | Multiple Categories
QC_EXPR | Designates expression and order for interfaces to recognize QC Identifiers | ^.{1}$ | Multiple Categories
RES_TYPE | Get both numeric and string results | ST,NM | Multiple Categories
RES_Only | AFPB | (empty) | Multiple Categories
LMP_TEST | LMP: last menstrual period (OBR 13) | SystemCode1 | Multiple Categories
FID_TEST | FETID: fetus ID (OBR 15.3) | SystemCode3 | Multiple Categories
SPN_TEST | SPN: specimen name (OBR 18) | SystemCode2 | Multiple Categories
DEF_RESULT | Allows use of a standard result with comment. Allows interface to overwrite the result value without modifying the comment | INST_CODE1=VALUE1 ; (RISK=SEE BELOW) | Multiple Categories
IGNORE_EVENT | Message blocking rules. User may want to block results receiving. | 1=Ignore query for results, 3=Ignore results | Multiple Categories
MAXCMD | Set/raise max cmds (default = 10,000) | # over 10,000 | Multiple Categories
DISP_TOUT | set tout |  | Multiple Categories
EXIT_TOUT | set exit tout |  | Multiple Categories
DEVx-NAME | Define device name visible in SoftRx |  | Multiple Categories
DEVx-IP | Define IP of terminal server used to connect the device |  | Multiple Categories
DEVx-PORT | Define Port on the terminal server used for connection |  | Multiple Categories
NUMAUTO | Sets number of days to keep orders on loadlist | (number) | Parser
BATST | Apply append process for batch-assay results/present results in batch menu | 1 | Parser
UNIT-COM | Parser |  | Parser
SER_DELIM | Defines line delimiter for serial ports interfaces. (Default value is 13) | X | Parser
RGREC_RREC | Allows converting batch assay data type to regular type | Y | Parser
ENDO | Enables ENDOSCAN specific code | *rule* | Parser
PEAK | Where *rule* is result rule, X letter to be set as error flag. (>20&<50 E) error flag: E is peak value is >20 and <50 | *Rule*”x” | Parser
|  | >20&<50 E | Parser
STRIP_ORD | Set of rules allows stripping certain characters from order field. It may be useful to strip certain unnecessary characters. | *rules* | Parser
RM_ORDER | Allows interface to skip saving results without an order # to the database | *ORD_pattern* | Parser
RM_GORDER | Allow to restrict DB updates to orders which do not match ORD_pattern (batch-assay instruments) |  | Parser
EXIT_DELIM | If set and X value detected in incoming serial data, this will stop reading from serial port, save all received data as a file & start parsing process. Can be used to split incoming data related to single order in one file. | X | Parser
NULL_SUB | For serial ports, allows to substitute incoming null characters with predefined character, which later can be stripped. | 0 | Parser
DEF_TEST | If Instruments do not send test code, it can be predefined. | “test” | Parser
LINE_VALID | Specify the size of valid line. If criteria is not met, line is totally ignored | <X or >X or X | Parser
STRIP_AFT | Strip chars. from the line before parsing. DD is dec. value for char. \ is delim. | \DD\DD\DD | Parser
COM_VALUE | If instrument sends long result values (>15 chars) Default result will be: SEE BELOW and value will be put in comment field. | “” | Parser
DIL_SND | Default dilution sent to instrument. When set }DIL_TEST entries are enabled, tests which require specific dilution use }DIL_TEST parameter | 1 (no default) | Pharmacia
DIL_RCV | Results multiplied by DIL_RCV value Otherwise result stored as received. | 1 (no default) | Pharmacia
DIL_TEST | Set specific dilution value for test if default does not apply (One Entry per Test) | TESTx=100 | Pharmacia
RESTYP | Parameter to identify which result component will be stored in database | TEST,ASM,CONC,CLASS | Pharmacia
TEST | Determine what kind of results will be added above standard | X | Pharmacia
|  | Z | Pharmacia
ASM |  | Y | Pharmacia
CONC |  | K | Pharmacia
CLASS |  | See Notes | Pharmacia
EXTDEL | Indicate separator to be used for class results components | _ | Pharmacia
DOWNDEM | Download flag to determine which field from optional fields to be sent in query response | PF(L)ASH | Pharmacia
SNDMRN | Place MRN in PATIENT.ID field otherwise is ORDER# |  | Pharmacia
NOSNDNR | Do not send negative respond for query |  | Pharmacia
PARSE_TR | set trace | Y | Advia/Integra/Scattergrams
DataDir | set datadir | DATA | Advia/Integra/Scattergrams
ArchDir | set archive dir |  | Advia/Integra/Scattergrams
DownDir | set down dir | DATA | Advia/Integra/Scattergrams
ReadFName | read File name | Y | Advia/Integra/Scattergrams
ConsecName | use consec file |  | Advia/Integra/Scattergrams
InFile | set in file | *.* | Advia/Integra/Scattergrams
OutFile | set out file |  | Advia/Integra/Scattergrams
InFileExt | set infile ext |  | Advia/Integra/Scattergrams
OutFileExt | set outfile ext |  | Advia/Integra/Scattergrams
AdvGrID | Advia120 – used in building the image filename | 1 | Advia/Integra/Scattergrams
FtpRoot | Advia120 – home directory for anonymous ftp setup | /ftproot | Advia/Integra/Scattergrams
GraphPath | Advia120 – subdirectory of FtpRoot, where images are to be deposited | ADVIA/ | Advia/Integra/Scattergrams
Fprefix | Advia120 – Prefix on file name | w | Advia/Integra/Scattergrams
OrdLength | techh2 |  | Advia/Integra/Scattergrams
MR_pattern | techh2 |  | Advia/Integra/Scattergrams
RespDelay | techh2 |  | Advia/Integra/Scattergrams
RM_QC_ZER | Remove leading zeros from QC numbers | Y | Advia/Integra/Scattergrams
QC_pattern | QC identifier, has to match what instrument sends | ‘00000009xxxxxx’ | Advia/Integra/Scattergrams
Idep | Integra setup for Patient or Sample Mode | 4S, 4P, 8S, 8P | Advia/Integra/Scattergrams
QC | used for redirection QC orders to a different entry in iresldl menu | See Notes | Advia/Integra/Scattergrams
PT |  |  | Advia/Integra/Scattergrams
SNLen | Set # of digits in cup number (default = 5) | 3 | Advia/Integra/Scattergrams
scg2bmp | Allows use of scattergrams |  | Advia/Integra/Scattergrams
scgconv | Adjusts scatterplot rotation/orientation | DLL (See notes) | Advia/Integra/Scattergrams
AppLines | scattergrams |  | Advia/Integra/Scattergrams
STRIP_LS | strip listed characters from astm message (ascii) | 32/65/66 | Advia/Integra/Scattergrams
STRIP_NA | strips non-ascii characters from astm message |  | Advia/Integra/Scattergrams
STRIP_RS | replaces \30/ or RS record separator character with space |  | Advia/Integra/Scattergrams
SKIP_SP | Will skip spaces between two asterisks and the body of text within the extended comment. |  | Advia/Integra/Scattergrams
RangeXY | Set graphic range | "5000 250 255" | Advia/Integra/Scattergrams
DONOTRPTI | (PCC-71765) Makes images sent to SoftMedia non-reportable |  | Advia/Integra/Scattergrams
MAIN_DIR | Allows processing result queue in main inst. Dir. | Y | Reflab
FR_FORMAT | There is a special syntax for column formatting | See Notes | Reflab
COMM_LEN | Allows setting length of the result or comment line different from default 72 (not more than maximum allowed by Instruments posting program) | 79 | Reflab
COMM_DEL | Allows list of chars. That can be used in addition to space, to break a result line and start a new line when processing long results. |  | Reflab
CHK_BIL | Provides validation of Patient Bil. Num. that is to be sent in the specified “Description” field prior to posting reflab results to patient record | PID(18,1) | Reflab
CHK_MRN | Provides validation of Patient MRN that is to be sent in the specified “Description” field prior to posting the results to the patient record | PID(3,1) | Reflab
GRP_TID | Group test code to be obtained from the specified in “Description” subfield of OBR[4]( OBR[4,?]) | 4 | Reflab
IND_TID | Ind. Test code to be obtained from the specified “Description” subfield of OBX[3]( OBX[3,?]) | 4 | Reflab
FR_EXEMPT | Turn off functionality that’s supposed to skip results for the components of .F tests that have either result value matching the first characters of test name, or test name matching the first characters of result value. | Y | Reflab
ZPS_REG | For free text type tests: accept and store the ZPS segment, attaching the performing site address at the end of all the result comments | Off *must use ¦GENERAL rule* | Reflab
BL_NOCSET | For reflab Stop Cancelled tests from being billed | Y | Reflab
BL_NOCRES | For reflab ^^ ^^ ^^ ^^ ^^ ^^ ^^ | Y | Reflab
REFLEX_OFF | (PCC-41307) When set, prevents R column from being set to Y for tests. When not set, R column should contain Y for all tests |  | Reflab
QUEST_DAL | (PCC-57769) Post results with the value from OBR3.1 when OBR2.1 is empty |  | Reflab
PRX_MRN | (PCC-52522) The program shall add to MRN the corresponding prefix from Multisite Tracking - HIS Acc setup table before validating the MRN on order |  | Reflab
PRX_BIL | (PCC-52522) The program will add to Billing # taken from vendor transaction (pointed by CHK_BIL or default PID-18) corresponding prefix from Multisite Tracking - HIS Acc setup table before using the Billing # in messages to HIS |  | Reflab
EXTRACT_BIL | (PCC-52522) |  | Reflab
SKIP_PRFX | Skip inbound MRN or Bill# prefix MB is possible entry | M, B, MB | Reflab
MAIN_DIR | Genref reads messages from queue $DBPATH/dat/I/RFLAB/resRFLAB. Stores results queue in main directory | Y | Reflab
DAILY_DIR | Genref reads messages from queue DBPATH/dat/I/QUEST/RES<date>/resRFLAB. Stores results queue in daily directory | y | Reflab
OBR21 | Allows to process site name/address from OBR[21] | Y | Reflab
OBX_TIDST | Concatenates code from OBX[3,1] and the result status from OBX[11] to get the test’s CPT code | Y | Reflab
FR_RJUST | for reflab, Right justify |  | Reflab
MERGE_FREE | Merge the two free text results for same test together into one free textual result | Y | Reflab
RDATE | Captures Rdate date from RREC |  | Reflab
NTEP | (in instdep2) Adds patient and order comments to first component of group test |  | Reflab
NTEA | (in instdep2) Adds patient and order comments to all components of group test. |  | Reflab
NTEX | (in instdep2) Adds patient and order comments to group test’s last component that does not contain a DNR result. |  | Reflab
POSTSNOMED | (PCC-56158) | Y or N | Reflab
| Y = The system will capture results from OBX,5,1 when the instrument sends CWE or CE in OBX,2 and SCT in OBX,3. |  | Reflab
| The system will capture results from OBX,5,2, when reference lab sends CWE or CE in OBX,2 and SCT is not seen in OBX,3 |  | Reflab
| N = The system will capture results from OBX,5,2 if OBX,2 is CWE or CE. |  | Reflab
Strip0 | For reflab | (empty) | Reflab
ShowGrTbls | d_ABX |  | ABX/stks
ShowPts | d_ABX |  | ABX/stks
DNLG | Modify Download Logic. Note that –no- spaces are allowed around the +’s in this line | profile+profile+… = <downloaded testcode> | ABX/stks
IPROFILE | Using instrument tests: modify which individual tests trigger a profile | profile=test+test | ABX/stks
SPROFILE | Using System tests: | profile=test+test | ABX/stks
DwnLogic | To modify download logic Note that –no- spaces are allowed around the +’s in this line | profile+profile+… = <downloaded testcode> | ABX/stks
Hgroups | Additional entries added to the hematology flags processing | <group name> = <group or flag>[: code],… ; PLAT=THR+:T | ABX/stks
LogicChg | Additional Coding for STKS | See Description | ABX/stks
ADD_COM | Controls handling HL7 comments | (NNY) See Notes | POCT
APPACK | Controls if application acknowledgment is used. | Y (default=n) | POCT
NO_QUE | If set, no HL7 ack. Transaction that’s generated. Program will generate POCT error log only. | Y | POCT
HL7_VER | Content of MSH[12] in message sent to POCT DM | default is 2.3.1 | POCT
HOURS | Time after which server will generate Unknown Error message to POCT Rata Manager | 1 | POCT
MES_TYPE | Content of MSH[9] in message sent to POCT DM. Overwrites default. If multiple POCT systems are setup in SoftLab and support multiple vendors, MSH[9] may be vendor specific. If so }ACK_MES_TYP parameter of Main program setup may be used to control that value. |  | POCT
|  | Default: ORR^O02 | POCT
ACK_MES_TYP | Value (what will be sent in AppAck in MSH[8]); Must be set if value is different then default: ORR^O02 or value of }MES_TYPE of XAPP setup. |  | POCT
MATCH_BAR | If instrument isn’t POCT, then program will require exact match of inst test, spec. type, and, if defined, fluid type before resolving an instrument test to system test. | Y | POCT
ACK_MTYPE | Ack message for POCT | ACK^R33 | POCT
SENDER | Content of MSH[4] in message sent to POCT DM. |  | POCT
SENDER2 | Content of MSH[5] in message sent to POCT DM. |  | POCT
SOEHISDB | Path to soehis database. Used to store posting status/errors of Order Entry SoftLab application. | Typically: I/HIS | POCT
ALWAYS_OK | Program will always generate positive ACK for every received inbound transaction. It is valuable to test POCT package without OrderEntry | Y | POCT
SEND_SRES | POCT |  | POCT
PLOG_INDV | Generates one POCT log per interface. All logs should to be defined in F6: error table: INSTR_ID_1¦D¦FILE_NAME_1; INSTR_ID_N¦D¦FILE_NAME_2 | Y | POCT
SPEC_NAME | The OBX segmetnt that will carry specimen info | Sptype,OBX,3,2 | POCT
SPEC_VAL | Value read from OBX,5 from the segment that carries the specimen inflow | OBX,5 | POCT
SPEC_TO |  | OBR,15,1 | POCT
SPEC | Allows to map POCT specimen to existing SoftLab specimen on OBR[15] | from=to | POCT
QRY_MSH2 | Query response value will be put in field MSH[2] | default: SCC-POCT | POCT
QRY_MSH3 | Query response value will be put in field MSH[3] | default: LAB | POCT
QRY_MSH4 | Query response value will be put in field MSH[4] | default: ABL725 | POCT
QRY_MSH5 | Query response value will be put in field MSH[5] | default: POCT | POCT
QRY_MSH8 | Query response value will be put in field MSH[8] | default: ADR^A19 | POCT
QRY_ORD | Controls if query will be done by billing or order #. If QRY_ORD>0, then this # will specify length of order # that’s used for query, Any other length will be billing number. If QRY_ORD=0 then query is for billing number. $queryid used to specify HL7 field to be used as query key. | default: 0 | POCT
MULT_OBR | Single message consists of multiple OBR/OBX segments. OEHIS supports such message, creating orders, with the same order number for each OBR/OBX from the message. |  | POCT
PORD_TAG | Applicable if AppAck messages are generated | 1 | POCT
GROUP | POCT | indiv_test=grptst | POCT
LONG_TECH | Store a long tech id and its short substitute tech id with EMPID tag under result comments, send to ADT HL7 message without truncated tech ID. |  | POCT
DEPOT | Complements conversion rule/is used to determine the Depot based on location received in Instrument ID field (MSH,4). Conversion rule has to be placed into a configuration file to be effective | ICU=A1 | POCT
|  | LAB=A4 | POCT
POCT_TYPE | See POCT Message Types for differences between different POCT vendors. Default HL7 field for message type is MSH[8]. If another HL7 field needs to be used: res_type from Main program configuration file allows you to control it. | Default: ORM^O01 | POCT
PRES_TYPE | Message pattern in MSH[8] or value of $res_type identifies results with SoftLab order#. Will not be processed as POCT, but as regular lab results. | Default: ORU^R32 | POCT
RECEV | Value (what will be sent in AppAck in MSH[4]); No default value, but it should be supported. | ABL725 | POCT
RECEV2 | Value (what will be sent in AppAck in MSH[5]); No default value, but it should be supported. | POCT | POCT
MAKE_RES | (create test to reference analyzer ID) | $uni1,ANAL | POCT
| (create test to reference operator ID) | $uni3,OPER | POCT
TECHID | Allows you to map tech codes | ExtTechID=tech_id | POCT
DEVICE | Allows you to map device id |  | POCT
PREFIX | used in multisite POCT environment. | See Notes | POCT
SPEC | Translation that takes place on OBR[15] field of the transaction which will be sent to HIS OE module | (from=to); Arterial=HSY | POCT
NTE_TEST | Change ordered test code based on this comment content, pattern string after pattern will contain new test code. |  | POCT
ORD_IND | Will convert OBX segments to OBR for data sent to OE module(assuming data is one OBR, many OBX). If ORC is missing, program also generates this. | 1 | POCT
| 0 = All individual tests are linked to one orderable test |  | POCT
|  | 0 | POCT
DEF_SPEC | Defaults specimen (for HIS OE purpose) | default= “” | POCT
DEF_TECH | Defaults TechID as resulting tech | default= “” | POCT
QUERY_TYPE | Message pattern in MSH[8] (or res_type:) identifies patient demographics query | Default: | POCT
|  | ADR^A19 | POCT
QC_TYPE | Pattern in MSH[8](or res_type:) that identifies unsolicited qc transaction (qc data). Wont be processed as POCT, but as regular lab QC results | Default: ORU^R32 | POCT
QUERY_CASE | (parameter not visible in Translation Table by default) | 2 | POCT
SUBJ_ORDQRY | Describe order subject query, complemented by entries in RADIA config. file: $queryid QRD,8,1; $queryid2 QRD,8,2 |  | POCT
DEVICEID | Allows mapping device number to workstation code. | Device_#=wrkst_id | POCT
INPORT | Define the port number of the termserver |  | POCT
OUTPORT | Define the outbound (orders) port |  | POCT
InQueue | Set inbound Queue | poctTmp | POCT
OutQueue | Designates the outgoing queue | BBIRS, poctIN | POCT
TrkQueue | Set trk Queue |  | POCT
SegNames |  |  | POCT
XLINE | Defines line type: C –for Chemistry, N – for Urine, B for hematology | C | Robotics
TUBE_PRI | Translates Extension to single digit Priority # (ext = single digit priority#) | 00=7 | Robotics
NoAliqInfo | robotics |  | Robotics
EXC_TOUT | robotics |  | Robotics
PRIM_EXC | robotics |  | Robotics
TRANSALPHA | Allows the interface to operate using numeric-only barcodes. (default 0) | 1 | Robotics
AL_EXCESS | Always generate Excess aliquot, even if there is no test assigned to that tube. | (Yes-1,No-2) | Robotics
STATIC_PRI | Use static priority to assign instruments workload to specific Beckman aliq. #. Recommended setup 0, to use dynamic and not static priority. | 1 | Robotics
STRACK | Control parameters for specimen tracking: ( only for releases 2.3.0 and lower, For newer releases AAIN.trk file is used) | See Notes | Robotics
DEF_ALIQ | Default aliquot workgroup | Value | Robotics
DEF_MASTER | Default master workgroup |  | Robotics
SWITCH_1 | Sets priority for excess tube with the lowest priority in case there are no tests associated with excess tube | 1 | Robotics
SWITCH_2 | Multiply volume by X | X | Robotics
SWITCH_3 | Limits the number of tests passed in a transaction to X | X | Robotics
SWITCH_4 | Allows sending ordered tests for tube. | 1 | Robotics
SWITCH_5 | Option to translate Soft test codes to TECAN test codes, default is 0 – no translation | 1 | Robotics
SWITCH_6 | Not used |  | Robotics
SWITCH_7 | Controls if loadlist actions return 0 or –1, 1 = loadlist action return –1 which allow to branch program logic. This switch shall be used by programmers only*** | 1 or 0 | Robotics
SWITCH_8 | 1 - Allows using retest message with volume checking. 0 – no volume checking. | 1 or 0 | Robotics
STRING_1 | Allows to define first line of label’s comment content. | M,L,F,W,C, | Robotics
STRING_2 | Allows to define second line of label’s comment content. | t20 | Robotics
STRING_6 | Where CODE is ERROR indicator to get on route list. With corresponding F6 route codes setup, it may be used to direct specimen to error outlet. | CODE | Robotics
DRIVER | Sets program for direct database access. setup ID=TECN has same effect as setting DRIVER value. | TECN | Robotics
MAST_PRIOR | Special setup (iParam) allows you to define which workstation has highest priority so it becomes master tube. | 1=H747, 2=COAG, 3=AXSYM | Robotics
EXC_TUBES | To set this entry, you need to know extension of collection tube and aliquot to be used for excess. If using collection tube as excess such entries are not required. Multiple entries are allowed. One entry for each collection tube put on the line. If a new tube is introduced on the line and there is no entry for it, robotics may generate incorrect number of tubes, one with ext 01 | Col_Ext=EX_A_EXT, Example: 30=31 | Robotics
REAL_ORDER | 1 sends order with extension for Re-Aliquotting messages of version 2.5, this is not needed for the Re-Testing messages. | 1 | Robotics
TRANSALPHA | Allows the interface to operate using numeric-only barcodes. |  | Robotics
Q_RATIO | For version 2.5) default 20 seconds to retry sending an Aliquot Information message following a T Message with the BUSY flag. | 20 | Robotics
LINEID | Defines codes of Robotics Setup Interfaces which support automatic specimen disposal. These are setup codes from H-Robotics Servers setup category. Multiple entries are allowed. | LINEC, LINEH | Robotics
RUN_TIME | Control what time server will start checking disposal criteria. Can use multiple entries. | HH:MM,TBDM1 | Robotics
DO_TRACKING | Provides optional feature of communication to specimen tracking server if robotics line cant notify spec. tracking about spec moving to outlet | N or Y | Robotics
FILTER | Defines criteria for disposal. Multiple lines are allowed. | See notes for syntax | Robotics
ColTime | Use collection date/time instead received D/T | 1 | Robotics
DAYSBACK | Define the number of days that disposal server scans tracking database. 3 is default | 3 | Robotics
FLAG_LDL | Tecan robotics |  | Robotics
ROB_LDL_COLL | (PCC-41516) For Roche Robotics, download the tests on the parent tube along with the tests on the aliquot tubes |  | Robotics
NAddExt | robotics |  | Robotics
TestSep | (Beckman Power Processor) To separate test names |  | Robotics
QWORKST | SCC_ID will be stored to LAB database as a performing workstation. This fn was moved to the }QWRKST parameter starting in 4.0.3.12 | ROCHE_ID=SCC_ID | Robotics
QWRKST | fn was moved to the }QWRKST parameter starting in 4.0.3.12 | ROCHE_ID=SCC_ID | Robotics
QCPAT | Used for translating QC orders (only one entry) | See Notes | Robotics
QCENTRY | Splitting QC results by instrument. The result from ROCHE_ID will be in ENTRY item of the interface menu. ENTRY defined from first test |  | Robotics
|  | ROCHE_ID=ENTRY | Robotics
QCSPEC | For different QC specimens. | SPEC=EXT | Robotics
SC_TRIG | If generation of transactions to ROCHE is based on NEW ORDER or SPECIMEN COLLECT/RECEIVE event default is at NEW ORDER | 0 | Robotics
MASTER | Downloading ext. of Coll, Aliq, or both. Adding the Param and setting to 0 will d/l the aliquot extension, or setting it to 2 will create two downloads, 1 with the collection tube extension and another with the aliquot tube extension. | (0,1,or 2) | Robotics
PREV_RES | Include previous results for that patient in the download message | 0 | Robotics
TEST_TRN | Set to perform test translation (System To Inst. code) Default is to translate tests according to TT. If translation rule doesnt exist, System code is passed (for sorting Purpose) | (0,1,or 2) | Robotics
REP_FLAG | Which LAB- HIS/Robotics flag to use to mark a test (individual component) as downloaded to DI | 4 | Robotics
RR_PATH | Path to incoming queue generated by res. reporting prog, default is HIS (build based on $dbpath/I/$this_parameter) | HIS | Robotics
NEW_LST | List of codes separated by “,” which identify incoming transaction from RR as NEW order (ORC[1] field is checked). Default is "SN"; |  | Robotics
CAN_LST | List of codes separated by “,” which identify incoming transaction from RR as Cancelled in the order (ORC[1] field is checked) Default is "CA"; |  | Robotics
SPC_LST | List of codes separated by “,” which identify incoming transaction from RR as SpecimenReceived in the order (ORC[1] field is checked) Default is "SC"; | SC | Robotics
CAN_KEY | Cancel keyword for single test cancellation. | . | Robotics
ONE_SAC | have only one SAC for many OBR records in outbound to DI have only one SAC for many OBR records in outbound to DI | 0 | Robotics
ONE_ORC | Enables one ORC for many OBR records in outbound to DI. | Default: 0, Enable: 1 | Robotics
TEST_ID | Controls components of the OBR,4 segment (Test ID, Test name, and local codes - 99zzz) Default format "^^^I^N" if it set, otherwise "I^N^L" |  | Robotics
TEST_FMT | Controls OBR[4] but only during downloading. Can be used with the robout program not the roboutm. | See notes for available chars. | Robotics
MRN_IN_PID | Send the MRN instead of the PID to the DIBOX | Y | Robotics
PV1 | Adds a PV1 record with the ward in PV1 field 3 | Y | Robotics
OBR18 | These two parameters are linked together because they allow control over the contents of these two fields with the same set of attributes. | See notes for syntax | Robotics
S_APPL | Sending application; default OUT | OUT | Robotics
S_FACL | Sending facility; default SCC | SCC | Robotics
R_APPL | Receiving application; default TSM | TSM | Robotics
R_FACL | Receiving facility; default TSM | TSM | Robotics
MES_ACK | message ACK type MSH-14, default "AL" | AL | Robotics
SPEC_TRN | Left = SoftLab tube type, right = DI spec. type | SST=PLASMA | Robotics
DEF_SPC | Default spec (when above iparam not used) | SER | Robotics
2ND_QUEUE | Allows outbound data to second queue | “queue name” | Robotics
FLT_BYTAB | Limits Roche downloads to tests in Tran. Table | Add to AAOUT TT | Robotics
BACKUP_Q | (Only in software lines post May 2005) Allows use of output queue in base data directory and backup queues in daily directories. | 1 | Robotics
QUEUE | Define queue names (ORD1, ORD2, ORD3, etc.) | ORD1 | Robotics
ORD1 | Assoc. data with queue. Value in inst. column corresponds to }QUEUE Entry | D=N*,F*;W=N,F | Robotics
ORD2 | D=list of depots | D=N*,F* | Robotics
ORD3 | W=list of workstations separated | * means any match | Robotics
ORD | Limits the depots or workstations that send out in AAOUT | D = (Depots), W = (Workstations) | Robotics
RobExt | Robotics aliquot digit |  | Robotics
WORKST | Same as WRKST pre - 4.0.3.12 build | <wrkst>=<setupid> | Robotics
WRKST | Translate instrument workstation to soft wrkst | <wrkst>=<setupid> | Robotics
NSPLTWRKST | Allows SPLITWRK parameter to operate on a partial match of perf. wrkst. Allows the interface to update a “dummy” interface when the result message contains more than one performing workstation. | Y | Robotics
SPLTWRKST | Used in setup for multi-instrument configuration, where splitting results between each interfaced instrument takes place. | <wrkst>=<setupid> | Robotics
GRP_SPLIT | Post SPLTWRKST together by group | Y | Robotics
Mlbl | Used in setup for multi-instrument configuration, where splitting results between each interfaced instrument takes place | DevID=SetupID | Robotics
APP_ACK | Set to not require an app. Ack. To be sent in response to D/Ling order. Prevent Contention problems when other message is sent from the device between the time a download is sent and the application ack. is received. | N | Robotics
Receiver | astmGen |  | astmGen
ActionCode | (PCC-44861) N, to change O12 from the default of A | N | astmGen
Action_Code | (PCC-64047) |  | astmGen
DELIM_CHK | (PCC-37094) | Y | astmGen
QueryHFlag | Set interface to not record an entry in the trace file for each item on the loadlist while it evaluates whether it is eligible to send to the instrument | (empty) | astmGen
SrvPort | Used for a TCP/IP Connection rather than serial | See Notes | astmGen
Proto | Wait to update the result record until we have received both records. (used if the device sends back multiple D records and they have to be merged) | DelayUpdate | astmGen
Proto | Handles errors w/ repeat characters between them | RptTag; | astmGen
Proto | (VersaCell) doesn’t support intermediate frames and multiple tests in one Order record. The following parameters should be set | TestsByOne | astmGen
Proto |  | OneEOT | astmGen
Proto | GroupReply prepares a series of orders in this manner | GroupReply | astmGen
Proto | End of Transmission Block transmission control character | UseETB <ETB> | astmGen
Proto | RerunCancel | RerunCancel | astmGen
Proto | DemogOnly | DemogOnly | astmGen
BUILD_Q | Store inbound ASTM messages to queue so they can be processed by server | PSM | astmGen
ACK_CONT | During contention, interface will immediately send an ACK to the instrument instead of for a new ENQ. Allows downloading of orders during contention |  | astmGen
ENQ_Test | astmGen |  | astmGen
CONTold | astmGen |  | astmGen
DELAY_WR | The number of milliseconds driver waits before sending Query response | 1000 to 2000 | astmGen
DELAY_ACK | The number of milliseconds driver waits before sending ACK message | 1000 to 2000 | astmGen
MaxFrameSz | Adjusts length frame breaks at(for large Ord rec) | 235 | astmGen
ADD_EMPTY | Writes record to queue - even if empty |  | astmGen
ENQ_Test | astmGen |  | astmGen
DEMOG_BLD | astmGen |  | astmGen
UNIT_NO | It causes download to be shifted by 2 characters by default. | 0 (default: 2) | Olympus/bg200/clinitek
RACK_NO | When set to ‘0’, cup position is set ‘0’ and text class will be ‘1’ one byte only | [0, 5], default: 4 | Olympus/bg200/clinitek
CUP_POS | Set cup position (not needed when RACK_NO is 0 | 0 (default: 2) | Olympus/bg200/clinitek
TRES_LEN | Result length = 6 char of 9 char (default 9) | 6 (default: 9) | Olympus/bg200/clinitek
SndNegQry | Respond with –ve query to prevent neg. query response and issues associated with it (Nn will cause AU1000 time out alarm to obtain attention) | Y Default: N | Olympus/bg200/clinitek
CancelOD | for over digit cancelation (Nn default) | Y (default: N) | Olympus/bg200/clinitek
1SNO_2SID | Order of the sample No. and sample ID on the text can be changed in the SYSTEM MAINTENANCE Menu.[Sample No.; Sample ID] | Y (default:N) | Olympus/bg200/clinitek
SAMPLE_ID | Digit No. of sample ID is defined in the Barcode Condition Menu. It should be set to 20. | 8,10 (default:20) | Olympus/bg200/clinitek
DMOG_ITEMS | Olympus |  | Olympus/bg200/clinitek
AU2700 | Used to point to the AU2700 and AU5400 model |  | Olympus/bg200/clinitek
CUV_ANL | Patient results can be set to not use this on the instrument. It cannot be turned off for QC. It is best to us this parameter for patients and QC. Make sure the client has it set on the instrument for patient results | Y | Olympus/bg200/clinitek
LotBottle | When in the AU2700 mode the default is Y. The client may have the instrument set to not send this information. If this is the case set it to N. If this is not done the results will not be parsed correctly. | N | Olympus/bg200/clinitek
AutodQ | Nothing in the description and setting the Autodl field to Q With the instrument characteristics |  | Olympus/bg200/clinitek
AutodlQ | “BID using message queue” allows better approximation of Real Time Query for au600.c version 1.38 and higher. |  | Olympus/bg200/clinitek
WaitTout | lowers Olympus timeout value | 10 | Olympus/bg200/clinitek
TestPrefix | Set to ignore prefix of m,c, or i | N | Olympus/bg200/clinitek
AccId | Pull the order number from the iACC field instead of the default, iPID. | iACC | Olympus/bg200/clinitek
LIS_iIID | Changes the instrument ID to whatever is defined | *desired ID* | Olympus/bg200/clinitek
Tech_ID | Adds a tech ID if not sent by the instrument. | InstTechID=SCCID | Olympus/bg200/clinitek
TechID | Disables posting the ID of the Tech ID sent from the analyzer. | Y | Olympus/bg200/clinitek
CellType | Sets the model type (CELL3000; CELL3200; CELL3500) | Cell3500 | Olympus/bg200/clinitek
Flag0Sup | Suppress creation of any test codes for the ‘flags’ sent as ‘0’ (not positive) |  | Olympus/bg200/clinitek
Test_id | Used to modify the hardcoded units and the position of decimal points for the CELL 3000 model | See Notes | Olympus/bg200/clinitek
ToutDat | Allows the interface to accept an extra character, if one is sent. Send ACK after every timeout. | Y | Olympus/bg200/clinitek
IDPattern | Define pattern in description column which identifies sample ID field. | I.D.= | Olympus/bg200/clinitek
QueueName | Names and (when main program starts) creates the queue if needed. Then starts child process letting it know of the queue to be used | TYPOC | Olympus/bg200/clinitek
|  | (use device ID) | Olympus/bg200/clinitek
Format1 | Determines which Order# format is used: old (short) or a new one (long). | Y = new (new) | Olympus/bg200/clinitek
|  | N = old (short) | Olympus/bg200/clinitek
Criterion | (ONLY FOR Criterion 2 and Midtron) Allows sending color and clarity. | Y | Olympus/bg200/clinitek
NoDOB | CX7 |  | Olympus/bg200/clinitek
AppAck | Using this with a description of N will allow the interface to mark the order as downloaded after receiving a low level acknowledgement without waiting for the application acknowledgement. | N | Olympus/bg200/clinitek
CommProg | Sets subprogram that is used for communication | Q2gens, Q2srv, etc. | Olympus/bg200/clinitek
HmX_dct | fixed |  | Olympus/bg200/clinitek
CNC_DUP_TR | (PCC-36950) Remove duplicates from transaction |  | Olympus/bg200/clinitek
CNC_DUP | Automatically cancel duplicate tests when results are set to APPEND. The result, error code, and comment must be identical. |  | Olympus/bg200/clinitek
NOCNC_REJ | To not cancel dbires test result records with equal rinstr_t |  | Olympus/bg200/clinitek
CFORM | Set Control# format client uses, If Sample IDs differ from Control Sample | CONTROL%c | Olympus/bg200/clinitek
TestComm | (Yellow Iris) Place the comment line under test “COMMENT” with value “YES” and the comment as free text. | Y (default: N) | Olympus/bg200/clinitek
Serum_Prot | Allows SERUM_PROTEIN_ABS to be set | Y | Olympus/bg200/clinitek
Fmt_Tbl | Allows Format table to be configured See Notes | 0,1 | Olympus/bg200/clinitek
OrdDocName | Send Ordering Doctor Name |  | Olympus/bg200/clinitek
FF1 | Download extra data elements to instruments | See Notes | Phoresis
FF2 | Download extra data elements to instruments | ^^ | Phoresis
FF3 | Download extra data elements to instruments | ^^ | Phoresis
FF4 | Download extra data elements to instruments | ^^ | Phoresis
FF5 | Download extra data elements to instruments | See Notes | Phoresis
TEST_RES | Used to filter the download of concentration tests to just those with the same extension | TPRO=00 | Phoresis
TEST_RES1 | Similar to TEST_RES See Notes for more detail | See Notes | Phoresis
TEST_RES2 | ^^ ^^ ^^ | ^^ | Phoresis
TEST_RES3 | ^^ ^^ ^^ | ^^ | Phoresis
TEST_RES4 | ^^ ^^ ^^ | ^^ | Phoresis
TEST_RES5 | ^^ ^^ ^^ | ^^ | Phoresis
COMM | Captures Comments from instrument | INT1 | Phoresis
EXCOMM | Captures extended Comments from instrument | INT2 | Phoresis
COMMVAL | Used to add result value when no result exists | “See Comment” | Phoresis
CONC_SUFF | Allows user to define the character to be added to the instrument test code to make concentration and percent values unique | # | Phoresis
PERC_SUFF |  | % | Phoresis
|  | See Notes | Phoresis
MULTI_GRAPH | Enables ability to attach graph to several tests | Y | Phoresis
G_MIRROR | Posting a Mirror image of the graph | 1 | Phoresis
G_SCALE | Control the scaling of the curve by either a factor or a percentage | 50% (or 2) | Phoresis
G_MAXOD | Use Manual Scaling set on the instrument | 100 | Phoresis
SEBIA_L | Set sebia language |  | Phoresis
SEBIA_GL | Set sebia graph position |  | Phoresis
INST_SNFLD | (PCC-64240) Capture instrument id/upload performing wrkst |  | Phoresis
UCONC | To define units for Conc tests |  | Phoresis
FRCUNIT | To define units for a Fraction Conc test |  | Phoresis
FRPUNIT | To define units for a Fraction percent test | % | Phoresis
NRAT1 | To set the name of ratio test1 | RAT1 | Phoresis
NRAT2 | To set the name of ratio test2 | RAT2 | Phoresis
URAT1 | To define the units of ratio test1 | RAT | Phoresis
URAT2 | To define the units of ratio test2 | RAT | Phoresis
NCONC | Redefine the name of the first instrument test sent in a result (testing only) |  | Phoresis
CHK_FLD | To send the MRN in the patient ID field and the ward in free field 1 |  | Phoresis
CONC_TSTS | To define units for Conc tests |  | Phoresis
MRN2PID | Download MRN instead of PID |  | Phoresis
COMMZERO | Ff the comment =0 then suppress |  | Phoresis
COMMCUT | Can strip leading ^^s from the extended comments |  | Phoresis
VERSION | Vesmatic Rev. 6.1-03 or later needs parameter | 6.1-03 | Phoresis
SendTout | Vesmatic | 1 | Phoresis
Dupl_EOT | Vesmatic |  | Phoresis
HYRYS_L | Hyrys |  | Phoresis
HYRYS_M | Informs int. which hyrys ver. Its working with | 1 or 2 | Phoresis
HYRYS_GL | Set hyrys graph position. |  | Phoresis
DOWN_PAN | Define downloadable panels for the Vitek | See Examples | Mic
AP_SEQ | Orders posted to the 2nd_autop_queue will be processed sequentially. | Y | Mic
POS_RES | Sets the significant flag | POS | Mic
SIG_FLAG | Marks positive results in the interface as significant. | (Needs flag 28); STEST=POSITIVE | Mic
TRTBL_NOT_SUPPRESS | Leave empty |  | Mic
TRTBL_ASSIGN_MEDIA | Leave empty |  | Mic
DOWN_MIC_TAGS |  |  | Mic
IGN_SEG | Allows ignoring records which contain specific text in the given field and subfield. | X,y=text [“text” – can be any text. y – Number of subfield. x – Number of the field.] | Mic
USE_CDT | Ignore completion date/time from the instrument and use current date/time for posting instead. |  | Mic
I_TYPE | Instrument type control | BLOODC | Mic
UP_BCM | Blood culture mode control param for UPLOAD MODE | See Notes | Mic
DOWN_BCM | Control parameter for DOWNLOAD MODE | See Notes | Mic
IDR_SDR | Drugs translation | Multiline entries allowed | Mic
IPAN_SPAN | Panel translation | Multiline entries allowed | Mic
RES_TRAN | Result translation (+=positive) | Multiline entries allowed | Mic
BOT_MED | Bottle to media translation | Multiline entries allowed | Mic
TECH_TRANS | Tech id translation | Techid=newid | Mic
SENS_DEP | Allows parsing of sensitivity R records |  | Mic
DOWN_DTST | test to be downloaded when using SORD_DEFTST | BLC | Mic
USE_DTECH | Will force use tech id from entry in }TECH_ID Parameter | Y | Mic
TECH_ID | Tech Id to be used by USE_DTECH | “TECH” | Mic
TST_FLAG | Default test flag | F,P,I,f,p,i: Small letters mean tests status will change only if no status from inst. Capital letters force status in this entry by the user | Mic
ORD_FLAG | Same as TST_FLAG just pertaining to orders rather than tests | F,P,I,f,p,i: Small letters mean tests status will change only if no status from inst. Capital letters force status in this entry by the user | Mic
DEF_SRC | Default source |  | Mic
DELIMITS | New astm delimiters other than “¦” |  | Mic
CONV_TST | Allow drug mapping to upper or lower case | UP2LOW (convert to lower) | Mic
|  | LOW2UP (convert to upper) | Mic
HEMOL | Drug for HEMOL |  | Mic
OXIDER | Drug for OXIDER |  | Mic
OXAC | Drug for OXAC |  | Mic
BLACT | Drug for BLACT |  | Mic
ORGCL | Drug for ORGCL |  | Mic
ORGSET | Drug for ORGSET |  | Mic
SYNSTR | Drug for SYNSTR |  | Mic
SYNGEN | Drug for SYNGEN |  | Mic
THYM | Drug for THYM |  | Mic
PanelID | Convert what Instrument sends to what is setup in SoftMic | Isnt.Sent=setup in soft; ast-gn09=gn-09 | Mic
ID_TST | Uses description to designate an ID panel result by its panel ID | 47; (instr. ID Panel Code) | Mic
SUSEP_TST | Tells VITEK which panels are sensi. panels (description) | gns-113 | Mic
MicPostTag | Define the tags to be posted to Micro result Entry | RFL | Mic
LabPro | Allows download of both Sensi and Identi Panel to instrument, W/O it only one panel will download. |  | Mic
PanelId | Uses the description field to translate panel Ids from the Soft Code to the instrument code. | RNC8=48 | Mic
ORG_TRANS | Translates organism ID | MicroscanCode=SoftCode | Mic
IDR_SDR | Translates drug ID | MicroscanCode=SoftCode | Mic
InstrOrgN | Post ORGN ID to interface result | Y/N | Mic
SingleDL | Microscan |  | Mic
SAMPLE_ID | Will pad the sequence number with leading zeros, if not desired use SEQ which doesn’t download leading zeros. SAMPLE_ID can be used to send order number instead of Micro sequence number to the Vitek in the order field w/ escript. LONGORD and SHORTORD. | X1(X2 is optional) | Mic
AUX_NUM | Will pad the sequence number with leading zeros, if not desired use SEQ which doesn’t download leading zeros. SAMPLE_ID can be used to send order number instead of Micro sequence number to the Vitek in the order field w/ escript. LONGORD and SHORTORD. | SEQ_ZEROS | Mic
TL-PATH | Designate the location of the test List file when the interface combines the two lines for the Aptus | b/dat/I/ | Mic
TL-FILE | Designate the location of the test List file when the interface combines the two lines for the Aptus | APTUS/tests.lst | Mic
TESTVAL | Set to “STR” to capture qualitative results | STR | Mic
SPLIT_LS | Used to remove ALL instances of a particular character before message is processed. | 44 | Mic
pattern | First couple of words in the header (like: GROUP TRAY) |  | Mic
column | # of column with results (both for ISO20) |  | Mic
MEDIA | Allows to map bottle code to MEDIA code | 65=BLANA | Mic
RESULT | Allows to map result text to result code which will be displayed and then subject to Positive interpretation. This is global result rule (same for all received tests) |  | Mic
DRUGS | Allows to map Instrument Drug Codes to SoftMic Drug codes | Am=am | Mic
BP_PANELS | Allows to map panel code from Instrument Code to SoftMic code |  | Mic
KB_PANELS |  |  | Mic
SENS_PANELS |  |  | Mic
ID_PANELS |  |  | Mic
ORGANISMS | Allows to map Instrument organism code to SoftMic organism Code |  | Mic
ISO_NUMBERS | Allows to map Instrument Isolate number to SoftMic numbers. |  | Mic
| Please note that you do NOT need to use mapping rules if instrument sends codes which are the same in SoftMic system. |  | Mic
NDOWNL_TST | Instructs MICDBMQdriver to download already finalized test to the instrument | X - canceled (default); F - final. | Mic
NChkAliq | Used to activate Aliquoter setup in the Autodownloading interface, turns on the ability to send a msg from autodl to the ADDON server. |  | Autdownloading
AddOrig |  |  | Autdownloading
LDL_DOWNL | Determines which tests from the loadlist will be sent to the instrument | YES=OBSR;NO=CV | Autdownloading
| (No default. When not set, instrument flags handle what qualifies) | See Available | Autdownloading
LDL_BUILD | Determines what’s built to loadlist (No default. Loadlist build logic handled by instrument flags when iparam not set) | VX | Autdownloading
LDL_REMOVE | Entries marked SENT will be removed from ldl | Y | Autdownloading
LDL_CDOWNL | (SteamLab) Allows control for downloading tests O record. Cancelled tests in loadlist will be marked with F_ORIGINAL/ F_BSENT/ F_SENT, which will prevent the redownloading cancelled tests multiple times |  | Autdownloading
|  | See Notes | Autdownloading
SPC_COLL | Set to check and download tests at Receipt, or at Collection | R or C | Autdownloading
MQ_MODE | Preserve MQ from AUTOD at restart (uses previous MQ instead of starting a new one) | NO_INIT | Autdownloading
OrdSleep | Add delay between update of the collection date/time and when autodl server receives message from track server. | 1 | Autdownloading
TimeWait | Defines period of time autodl will retry updating the D flag if order is locked. | (Numeric Value) Ex: 5 | Autdownloading
AutoLDLDef | AutoDL downloads to multiple instruments in which they’re entered into the micparam and marks order as downloaded. In order to send to the second sensitivity instrument it is necessary to set this to 5 | 5 | Autdownloading
ALARM | Autoposting |  | Autdownloading
VERTECH_ID | Reassign verifying Tech IDs to !/AUT |  | Autdownloading
STOPERR | In interface error translation table to stop Autoposting from posting batch/single results when interface receives undefined error |  | Autdownloading
DYNTESTS | Changes to Ind. Test Ranges Table will be tracked by autoposting and ranges will be re-read if necessary | (description empty) | Autdownloading
REPL_DEP | Determines which depot MQs are sent to which autoreporting server for Multisite autoposting and autoreporting | 1=A(A depots MQ is sent to autorep 1), 2=B1,B2 | Autdownloading
REPL_LOC | Same logic as above based on instrument location (isetup result wrkst.) * number 1 and 2 represent MQ for autoreporting | 2=ALAB,TEST 1=XLAB | Autdownloading
SkipInt | Forbid autorestart of interface defined | “interface ID” | HIS
SkipCat | Forbid autorestart of interface catagory | “category ID” | HIS
SkipAll | Skip everything not listed in Alwaysrun | Y | HIS
AlwaysRun | Set up individual interfaces to be restarted by the MONIT program | “interface ID” | HIS
SPN_RPT | Used in MONIT to identify interface to send messages to SPN | “interface ID” | HIS
WaitIfRun | Helps if there’s problems with midnight restart. Always set in MONIT | bin/restart | HIS
ADD_NOT_Q | To order a test that is not listed in the GROUP RULE. | 1 | HIS
FORMAT | Set formats of incoming messages | 1 —› is HL7 | HIS
|  | 2 —› is ASTM | HIS
PREFIX | Start of frame char. of incoming message | Default: \XOB\ | HIS
SUFFIX | End of frame character of incoming message | Default: \X1COD\ | HIS
SUFFIX2 | HIS comm. |  | HIS
ETX_OFFSET | Offset of the unique character within <suffix> or <suffix2>. Offset is counted starting from 0 from the first character of <suffix> | default: "0" | HIS
ETX_CK | ETX Format With Checksum. Has form: <prefix> <data> <suffix> <chksum> <suffix2> |  | HIS
CK_FMT | (Checksum Format) C-style "printf" format to format checksum value | %03d | HIS
CK_ALG | (Checksum Algorithm) Algorithm used to calculate checksum value | XOR | HIS
CK_LEN | Checksum Length | 3 | HIS
CK_OPT | (Checksum Options) Tells which parts of the message are included in the checksum calculation. Default: “PS” <prefix> <data> <suffix> | P <prefix> <data> S <data> <suffix> | HIS
FIXD | (Fixed Format) Message has the form:<data> No prefix or suffix present |  | HIS
HLLP | (Hybrid Lower Level Protocol) Used for asynchronous environments |  | HIS
FORMAT_ACK | HIS comm. |  | HIS
PREFIX_ACK | Start of frame char. of outgoing message | Default: \XOB\ | HIS
SUFFIX_ACK | End of frame character of outgoing message | Default: \X1COD\ | HIS
ETX_OF_ACK | HIS comm. |  | HIS
SUFFX2_ACK | HIS comm. |  | HIS
CK_FMT_ACK | HIS comm. |  | HIS
CK_ALG_ACK | HIS comm. |  | HIS
CK_LEN_ACK | HIS comm. |  | HIS
CK_OPT_ACK | HIS comm. |  | HIS
LENGTH_ACK | HIS comm. |  | HIS
HL7_SND_AP | field MSH[3] |  | HIS
HL7_SND_FC | field MSH[4] |  | HIS
HL7_ACK_CD | Contents of MSA[1] ACK message | AA | HIS
HL7_NAK_CD | Contents of MSA[1] NAK message | AE | HIS
HL7_AC_ACK | field MSA[15] |  | HIS
HL7_AP_ACK | field MSA[16] |  | HIS
HL7_MSH13 | If set, program will send MSH[13] back and put the same value as incoming MSH[13] | Y | HIS
ACK_OK_STR |  |  | HIS
ACK_ER_STR | HIS comm. | leave empty | HIS
SND_BILL | Switches sending billing data function on/off | Y | HIS
BILL_DIREC | Names of the billing files to send are read from HBILL/files file | Y | HIS
BILL_TRANS | Names of the billing files to send are read from HBILL/transmit file | Y | HIS
SND_ONCE | Program billsnd will send the billing data once and exit, instead of running in infinite loop |  | HIS
BILL_CATEG | Used by billsnd when translation table scheduling is not used (usually when SND_ONCE is set to "Y"). "FILE" means that regular queue (name in "Data File1") will be processed | FILE | HIS
READ_TOUT | Timeout for reading functions (in seconds) | 120 | HIS
ERROR_DEL | How long program will sleep (in seconds) after failed port operation, I.E. between trying to re-open socket | 60 | HIS
POST_NA | The number assign messages to the queue. Only with HL7 format. |  | HIS
FNAME_FMT | How FTP_RFILE parameter will be interpreted as remote ftp file name. | See Notes | HIS
SAVE_DIR | default: "FTPBILL" | leave empty | HIS
TCP_KEEP_O | TCP Keep Connection open\not open at each send | Y | HIS
FTP_HOST | Address to/name of FTP destination | 10.6.70.11 | HIS
FTP_USER | FTP user/sender | Softlab | HIS
FTP_PASSWD | FTP password | today1 | HIS
FTP_LFILE | HIS comm. |  | HIS
FTP_RFILE | HIS comm. |  | HIS
FTP_RETRY | HIS comm. |  | HIS
FTP_RETRY_FOREVER | leave empty |  | HIS
FTP_RETRY_ONE | HIS comm. | leave empty | HIS
FTP_DELAY | HIS comm. |  | HIS
FTP_DELETE | HIS comm. |  | HIS
FTP_DELETE_YES | HIS comm. | leave empty | HIS
FTP_DELETE_NO | HIS comm. | leave empty | HIS
F_MSG_TYPE | HIS comm. |  | HIS
F_MSG_SEG | HIS comm. |  | HIS
FILT_RULE | HIS comm. |  | HIS
ROUTER | HIS comm. |  | HIS
R_MSG_TYPE | HIS comm. |  | HIS
R_MSG_SEG | HIS comm. |  | HIS
ROUTE_FLD | HIS comm. |  | HIS

## Instrument Specific
Name | Description | Example
Instrument |  | Description
Cennexus:
PSMST | Defines Primary Storage Message Stop and Type | Ex: PS
STOP=P TYPE=S
PSMLRPP | Defines which M¦103 fields should be used for Primary Storage Message Location, Rack, Position, and Place respectively | Ex: 14,12,13,15
LOC=M14 POS=M13
RCK=M12 PLACE=M15
SSMST | Defines Secondary Storage Message Stop and Type | Ex: SS
STOP=S TYPE=S
SSMLRPP | Defines which M¦103 fields should be used for Secondary Storage Message Location, Rack, Position, and Place respectively | Ex: 14,12,13,15
LOC=M14 POS=M13
RCK=M12 PLACE=M15
DSMST | Defines Autodiscard Message Stop and Type | Ex: DB
STOP=D TYPE=B
DSMLRPP | Defines which M¦103 fields should be used for Autodiscard Message Location, Rack, Position, and Place respectively | Ex: 14,12,13,15
LOC=M14 POS=M13
RCK=M12 PLACE=M15
OSMST | Defines Outlet Storage Message Stop and Type | Ex: OS
STOP=O TYPE=S
OSMLRPP | Defines which M¦103 fields should be used for Outlet Storage Message Location, Rack, Position, and Place respectively | Ex: 15.1,12,13,14
LOC=M15.1 POS=M13
RCK=M12 PLACE=M14
OLMST | Defines Offloaded Message Stop and Type | Ex: OL
STOP=O TYPE=L
OLMLRPP | Defines which M¦103 fields should be used for Offloaded Message Location, Rack, Position, and Place respectively | Ex: 11,15,13,14
LOC=M11 POS=M13
RCK=M15 PLACE=M14
TEG:
SID_SEL | Defines which record/field to take specimen IDs from (Default is PID-3.1) | OBR for OBR-2
NTE for NTE-3
TIMECONV | Select which tests results to divide by 60 (convert from Seconds to minutes) and change the UNIT to min from sec | <TEST>
Ex: CKR
XNLSE:
NRBC_RES | Defines how to use the NRBC? Code/Flag | FLG, IGNORE, RES
FLG = NRBC? as Flag, RES = Result code, IGNORE to ignore NRBC? Code
LNFN | Set to send patient name in format of LastName Firstname | Y
BIOF:
TechEmpty | Removes 'Tech' value (Requirement for some Clients. Default = empty) | Y
PREVI/PREVF:
SENS_TRANS | parameter to convert drug results (Example: ‘64’ convert to ‘>16’) | 64=>16
Specific to drug sensitivity results only.
PTechId
MULTIPLE:
INT_CMNT | Set to Y to place a “?” in front of order messages | Y
(process messages as Internal Comment)

## Notes
Data types and Notes
iParam | Selection
DATE_TYPE | 1: yyyymmdd -> mm/dd/yyyy
2: yyyymmdd -> mm dd yyyy
3: yyyymmdd -> yyyy/mm/dd
4: yyyymmdd -> dd/mm/yyyy
5: yyyymmdd -> mm/dd/yy
6: yyyymmdd -> yy/mm/dd
7: yyyymmdd -> yyyy mm dd
ERR? | “X” displays all unidentified errors as “X”?
COPY” displays the received error in the error code field.
ERRLEN | if the instrument sends ABCDEF but ABC is the code that needs to be converted the description of }ERRLEN should be 3
GENERAL | This RefLab iparam uses both the filter and description columns in the TT: ¦GENERAL F A AB will convert the “A” being sent to “AB” for flag.
Available suffixes:
T for TEXT conv
V for RESULT VALUE conv
F for FLAG conv
R for RANGE conv
U for UNITS conv
‘\0’ as global rule
XLTE | (Aliquot ext.)AQ=CL(Collection ext.)
GenInst requires two rules one XLT and another XLTE_E
INSTR_DEP | These letters can be used as tags to display previously hardcoded elements:
- letter 'P' for the tag "P=" (Downloaded profiles)
- letter 'Q' for the tag 'Q=' (Instrument sequence)
- letter 'S' for the tag 'QS=' (Sender ID)
- letter 'R' for the tag 'QR =' (Receiver ID)
- letter 'T' for the tags 'T1=', 'T2=', 'T3=' (Miscellaneous data)
- letter 'X' for the tag 'X=' (Specimen extension from XLTE rule)
LDL_DOWNL | It refers to loadlist flags. The syntax is:
LDL_CDOWNL | }LDL_DOWNL YES=OBSR8;NO=CV
or shortened referring only to "YES" section: YEA=OBSR
O = F_ORIGINAL; Original (New)
B = F_BSENT; Being Sent (request sent to the the instrument, but not accepted yet)
S = F_SENT; Sent (request sent and accepted)
R = F_RECEIVED; Received result
V = F_LVERIFIED; Verified result exist
C = F_CANCEL; Canceled (rejected) - indicates "do not download"
8 = F_LRERUN; Rerun
LDL_BUILD | The general syntax of the description is OE status’ to exclude.
Valid OE status’ used can be D, C, X, V, and X but other entries are -, *, and W
- cleans the loadlist entry
* rebuilds the loadlist entry from scratch.
W designates filtering by ordering workstations
When the W setting is used additional ordering workstations can also be designated using }ORD_WRKST description is: scc_wrkst=instr_wrkst
ORDSEARCH | A – Auxiliary order # (ex- 18B082BB006)
C – Order # with Codabar start/stop
D – Dynamic barcode
E – Order # with extension
F – Order # with extension with Codabar start/stop
O – Order #
H – HIS #
Empty means all methods used
UNITSEARCH | B – Barcoded donation # (ex- =W09101815481200)
E – Eye readable donation # 13characters (ex- W091018154812)
O – Inventory order #
Empty means all methods used
CHANNEL | 0 = SCC queue files, instdep1(terminal for error log) has prefix of q name
1 = message queue, not implemented
2 = socket not implemented
TEST_XLT | 0 = no translation
1 = translation like in tr. table
2 = translation table from instr. to system, where:
inst code is: InstrumentId-TestCode combination
This setup may be useful since server will get data from different instruments.
INST_XLT | 0 = no translation
1 = from inst. to system, where:
inst code is: I-InstrumentId
Instrument Code is Sender field from ASTM layout
RESTYP | CONC – RESULT.CONC
ASM - RESULT.ASMCLASS
TEST – RESULT.TEST
CLASS- RESULT.CLASS
TEST | These parameters determine, what kind of results will be added above standard. When we set letters in description fields like as X, Y, Z, K this letter will be added to test name e.g. TESTNAME – R210:
CONC | for example parameter:
ASM | }CONC Description=Z and Base test = R210 will cause that in results database we shall see tests:
CLASS
R210 RESULT.TEST ( standard test )
R210-Z RESULT.CONC ( special CONC test )
When we set only parameter and not specify any value in description field, default letter extensions will be used. Here are default values:
TEST - ->TESTNAME- Exception – no added letter in default mode, but added extension ‘-‘(default or predefine).
CONC - C -> TESTNAME-‘C’
ASM - A -> TESTNAME-‘A’
CLASS- L -> TESTNAME-‘L’
DOWNDEM | P – PATIENT.ID
F – PATIENT.NAME <- FIRST –or-
L – PATIENT.NAME <- LAST NAME, no both in one time.
A – BIRTH.AGE
S – SEX
H – HOSP (WARD)
QC | Instrument System Description
}QC QROCH QC118
Results of orders which started from QC118 will be seen as QROCH instrument results
scgconv | The values for this are as follows:
* L – rotate left (90 degrees)
* R – rotate right (90 degrees)
* D – flip on diagonal
(which can be combined)
If unset, it does a ‘D’ (flip) automatically.
Example: To rotate the image 180 degrees, add this:
}scgconv DLL
(or DRR - 180 is 2 rotations in either direction)
FR_FORMAT | the following columns can be formatted:
NAME,VAL,FLAG,UNIT,RANGE,SITE.
Syntax for each column is: TOKEN=offset,I
Example of entries are:
}FR_FORMAT NAME=1,19
}FR_FORMAT VAL=20,15
}FR_FORMAT FLAG=36,1
}FR_FORMAT UNIT=38,10
}FR_FORMAT RANGE=49,20
LogicChg | Left side of the expression: C+D=1 C is CBC D is DIFF R is RETIC
DwnLogic | Right side of expression will contain profile # to use.
Equal sign ‘=’ separates both .
Example of logic change - Above table would code as:
}DwnLogic C=2
}DwnLogic C+D=1
}DwnLogic R=4
}DwnLogic C+R=5
}DwnLogic C+D+R=3
TstLogic | Discovered a problem with what –tests- (TS<test>,in download record) were sent with a given profile. Therefore, that also is now configurable, in a similar fashion.
Example:
}TstLogic 2=DR
This would cause it to send (if profile 2 was triggered, in previous section) a ‘TSDIFF’ and a ‘TSRETIC’ line.
Note that the TstLogic is –only- used in conjunction w/ the DwnLogic table, and that onsistency checks (warning only) are performed at startup,to check that
a) each entry in TstLogic has at least one profile entered in DwnLogic
b) each profile in DwnLogic has a entry in TstLogic
ADD_COM | Three character field, each position can have Y/N value.
First position: if Y, will add patient comments as result
comment.
Second position: if Y, will add order comments as result
comment.
Third postion: if Y, will process all result comments in interface menu, but strip them before sending transaction to HIS ADT/OE module.
MULT_OBR | Setting of Y: This parameter is set ONLY when the client requests the Multiple OBR functionality. Need to check the AutodlEvents parameter to make sure that it is set to “OX”. If this is set to “RX”, the client needs to set up a dedicated OEHIS and SOH servers to manage it.
PREFIX | Site = prefix
This parameter works in conjunction with $site keyword from configuration file of Main POCT program.
If $site (typically content of MSH[4]) is matching the value of site of }PREFIX rule, then value of prefix will be applied to all areas of configuration file with PREFIX pattern.
Parameter is typically used to prefix patient’s billing and auxiliary number.
Example:
}PREFIX HHC=H
this should match HIS account setup
QUERY_CASE | Describes different query cases (Default is 2):
Case 1:
Query ID comes in common field and if size=A then this is order# query otherwise it is patient query.
Case 2:
Order# query comes in one field, patient# comes in another field.
Case 3: Query ID comes in common field and query subject comes in second field, subject describes type of query.
STRACK | DEV-TYPE=TRID,FLAG,STATUS
where:
DEV is device sending message TYPE is type of event TRID: tracking transaction ID (1 put on line, 3 on line)
FLAG: C collected, S stored on line STATUS: status-stop id
STRING_2 | Allowed values are:
L – last name
F – first name
N – first + last name
M- mrn,
S- sex,
r – room,
b- bed,
W – location of stay,
l – location of order
p – priority,
O – order number,
a – admit doc,
o – ordering doc,
T – tube,
t – test codes,
A – age,
B- DOB,
C- collection d&t,
Number after letter, means format data to a specified size.
FILTER | Syntax is as follows:
Instrument Description
}FILTER ClinicType,WARD,hours,RouteCode
where:
ClinicType – patient type: I – inpatient, O – outpatient, or other values from ClinicType setup.
Exact type, no value or * (wild card for all types are allowed)
Ward: patient location, exact value or * ( wild card for all words ) allowed
Hours: number of hours after which disposal should take place, time from collection or receipt or ordering time is checked (default: collection)
RouteCode: disposal route. Exact value of empty value is allowed. If empty value is used:
Then default setting for Disposal route code is entered in Robotics Server
F6 Stop Table will have an entry like following:
Stop List Instruments and/or Stop IDs
DISPOSAL XXX (route code number)
This is entry for each affected line.
}FILTER ClinicType,WARD,hours,RoutCode
}FILTER I,IWARD1,1 (uses default route code)
QCPAT | Instrument System Ext. Flt. Description
}QCPAT qc -- -----67890-
That translates QC118777777 order to qc77777
Ext field will be first additional characters in the new order.
Flt field contains characters, which are ignored during translation.
All orders which qualify }QC rule are regarded as QC.
TEST_FMT | Available format chars:
I - puts instrument test code or itest.itid, if not defined.
S - puts itest.itid
N - puts itest.itname
2 - puts itest.it2id
L - puts LOCAL_CODES
T - puts itest.ittube
OBR18 | The recommended syntax of the description is to use some symbol, other than a carat or a vertical bar to delimit the selected attributes.
OBR19 | Allowed values are:
L – last name
F – first name
N – first + last name
M- mrn,
S- sex,
r – room,
b- bed,
W – location of stay,
l – location of order
p – priority,
O – order number,
a – admit doc,
o – ordering doc,
T – tube,
t – test codes,
A – age,
B- DOB,
C- collection d&t,
Number after letter, means format data to a specified size.
Example }OBR18 N20-p-r-b
So 20 characters of Name-Priority-Room-Bed will all download in OBR18
STRIP_LS | Characters that are to be stripped should be listed as decimal ascii codes
in the description field.
‘/’ or ‘\’ can be used as delimiters.
Multiple usage of STRIP_LS parameter is allowed.
Instrument Description
}STRIP_LS 32/65/66
In this example spaces and ‘A’ and ‘B’ chars ( ascii 32 and ascii 65)
will be stripped
The same can be done by:
Instrument Description
}STRIP_LS 32
}STRIP_LS 65\66
SrvPort | Define Port number in /etc/services first.
Instrument Description
}SrvPort MXE2
In /etc/services:
MXE2MAIN 30060/tcp # INSTRUMENTS
test_id | There’re 3 pos. in the entry(each separated by a semicolon)
First position units
Second position indicates position of decimal point
Third position error letter code
Examples:
}WBC 10e3/uL;4 both unit and decimal will be modified
}HGB mmol/L only unit will be modified
}PCT ;2 only decimal point will be modified –
if rec’v 02230 decimal placed after second digit 02.230
NOTE: Any adjustment of the decimal point for Models other than the CELL 3000 should be done using translation rules, to multiply/divide results
Not all the possible error codes are captured and associated with tests by default. The errors that are captured can be modified using this parameter.
}NEU ;;IBGL modifies allowable errors for test NEU
adds error code ‘G’ to the defaults of I; B; L
NOTE: when entering this parameter all the codes to associate with that test must be listed.
The letter code that is created for a flag can also be modified with this parameter and the code can be added to the defaults captured by the test code built to capture errors.
}F-URIU;1 changes code for URI to ‘U’ (from +)
first position is the letter to use; 1 in second position adds to group test for errors.
Fmt_Tbl | Format is as pairs of comma separated numbers, separated by semi-colons. The first number is the column to pull test name from; the second, column to pull the result from.
Note that a line can have 2 (or more) tests, as shown in format 1-3, below.
WHICH format setting is selected is based on the position of ‘FRACTION’ in the column title headers, as follows:
Format Col Format 4 is a special case,
0 0 used when there are 6 columns.
3 3
2 5
3 7
The default format settings are:
}Fmt_Tbl 0,1
}Fmt_Tbl 0,1;3,4
}Fmt_Tbl 0,3;5,8
}Fmt_Tbl 0,5;7,12
}Fmt_Tbl 0,2
There are 5 formats defined; Defining less than all 5, will leave the default values (above) for the remaining formats. (IE, if only 3 are defined, they would replace formats 0-2, in order)
FF1 through FF5 | If necessary to use FF1 params it has to entered in translation table as follows:
Instrument System Ext. Flt. Description
}FF1 TEST_RES1
}FF2 TEST_RES2
}TEST_RES1 IGG
}TEST_RES2 IGA”
Downloading auxiliary test results
Free Fields 2 through 5 can be defined on the Hyrys II as auxiliary tests and this interface will download results to them if the designated tests exist on the same order.
I-test S-test Ext Fl Description
}TEST_RES1 ID1
}TEST_RES2 ID2
}TEST_RES3 ID3
}TEST_RES4 ID4
Where ID is the individual test code containing a downloadable result.
TEST_RES1,TEST_RES2,TEST_RES3,TEST_RES4, download results to the Hyrys’s Free Field 2,3,4,and 5 respectively.
TEST_RES1 | In addition to the }TEST_RES parameter }TEST_RES1 , }TEST_RES2, }TEST_RES3, }TEST_RES4 operate exactly the same except the test name is downloaded to the subsequent Free Fields. For these parameters just put the system test name in the description field, ie, do not add “=xx” to the description.
TEST_RES2 | If this previous parameters are not set results can still be downloaded using an entry such as:
TEST_RES3
TEST_RES4 | Instrument System
R TPRO
Where the instrument test is the one digit Analysis Program Code.
COMM | Use the defined instrument test to associate it to a system test:
EXCOMM | Instrument System Ext. Description
INT1 COMM 00 electrophoresis comment
INT2 ECOM 00 extended comment
CONC_SUFF | Values defined in Iparam are then appended to instrument test code to define separate codes for the % and concentration values:
PERC_SUFF | Instrument System Ext Description
Albumin# ALBC 00 Albumin Concentration
Albumin% ALBP 00 Albumin Percent
### To attach the curve to a particular test use a G in the extension field.###
DOWN_PAN | M, K, B, I panels and W to download panels with the same value in the wrkst fields from both the panel setup and isetup.
The description may also indicate a panel id
}DOWN_PAN =IK (allow the downloading of any)
Identification or KB panels:
}DOWN_PAN gin=M (where gin is a MIC panel id)
}DOWN_PAN abr=B (where abr is a Breakpoint panel id)
}DOWN_PAN =K
DOWN_BCM
Option1: | LORD_DEFTST – download long order with default test parameter }DOWN_DTST (provides default test code for that option).
SORD_DEFTST – download short order with default test.
Option2: | LORD_INSTST – download long order with real ordered test.
Option3: | SORD_INSTST – download short order with real ordered test.
Option4:
UP_BCM
Option1: | DEF_TST – upload results to default test. }UP_DTST (provides default test code for that option, if not set “BC” is used. }BOT_MED mapping rules used to map bottle code to media, attach media to default test. Bottle’s result stored as media comment.
BOTT_TST – treat bottles as tests. }BOT_MED to map bottle codes to test. Bottles result stored as test comment.
EXT_TST – Order’s extension to test translation. }BOT_MED to map bottle code to media, attach media to test code obtained based on order extension. Result stored as media comment
TST_TST – results attached to instrument’s test. Use }BOT_MED to map bottle code to media, attach media to instrument test.
Option2: | SPEC_TST – attach results to special test. }BOT_MED to map bottle code to media, attach media to special test. Obtain Special test from hosparam “micro_special_posting”. Results stored as media comment.
Option3:
Option4:
Option5:
FNAME_FMT | Possible values:
NONE - literal value of FTP_RFILE
OLD - following patterns in FTP_RFILE will be replaced:
SSS - application id, e.g. "LAB", "PAT"
YYYY - year
MM - month
DD - day
HH - hour
mm - minutes
ss - seconds
NNN - 3-digit daily counter
NEW - following pattern in FTP_RFILE will be replaced:
%A - application id
%Y - year (four digits including century)
%y - year (last two digits)
%m - month (two digits)
%d - day (two digits)
%H - hour (two digits)
%M - minutes (two digits)
%S - seconds (two digits)
%U - environmental variable UDIR (useful for paths, See (SAVE_DIR)
%[<length>]n - daily sequence counter, if <length> present
(e.g. %2n) it will be zero filled to fit <length>,
%[<length>]N - sequence counter (no daily reset), if <length> present(e.g. %2N)it will be zero filled to fit <length>
%c - one-character daily counter, counts from 0 to 9 then A to Z
%% - percent character